## Slide 1
Learned Apodization Fusion for Robust Ultrasound Beamforming Near Array Boundaries
Guillermo Cosarinsky1, Mario Muñoz1, Adrián Rubio1, Laura Monelleo1, Jorge F. Cruza1
1Ultrasonic and Nuclear Technology Group (GTUN), Institute for Physical and Information Technologies (ITEFI), Spanish National Research Council (CSIC), c/Serrano 144, 28006 Madrid, Spain
Corresponding author email: g.cosarinsky@csic.es

## Slide 2
Kim et al., Electronics 8, 242 (2019). doi:10.3390/electronics8020242
Apodization function
Delayed signals from each array element j
Receive beamforming and apodization
Notes: Source: Kim, P.; Kang, J.; Song, T.-K. A Pseudo-Dynamic Delay Calculation Using Optimal Zone Segmentation for Ultra-Compact Ultrasound Imaging Systems. Electronics 2019, 8, 242. https://doi.org/10.3390/electronics8020242

## Slide 3
Apodization function
Delayed signals from each array element j
Apodization controls resolution and sidelobes
Resolution and sidelobe trade-off

## Slide 4
Dynamic receive aperture
F-number controls the active subaperture at each focal point

## Slide 5
Learning continuous apodization weights
Delaunay et al., IEEE IUS 2025. doi:10.1109/IUS62464.2025.11201299
Notes: Source: R. Delaunay, C. Hennersperger, and S. Wörz, Learning Continuous Receive Apodization Weights via Implicit Neural Representation for Ultrafast ICE Ultrasound Imaging. IEEE IUS 2025. doi:10.1109/IUS62464.2025.11201299

## Slide 6
Null Subtraction Imaging (NSI)
Agarwal et al., IEEE TUFFC 66(1), 5–17 (2019). doi:10.1109/TUFFC.2018.2876285
Agarwal et al. (2019): complementary receive apodizations
Null
Apodization inside sub-aperture
Notes: Source: A. Agarwal, J. Reeg, A. S. Podkowa, and M. L. Oelze, Improving Spatial Resolution Using Incoherent Subtraction of Receive Beams Having Different Apodizations. IEEE TUFFC 66(1), 5–17, 2019. doi:10.1109/TUFFC.2018.2876285

## Slide 7
Null Subtraction Imaging (NSI)
Agarwal et al., IEEE TUFFC 66(1), 5–17 (2019). doi:10.1109/TUFFC.2018.2876285
Agarwal et al. (2019): complementary receive apodizations
Apodization inside sub-aperture
Beam profile / PSF
Notes: Source: A. Agarwal, J. Reeg, A. S. Podkowa, and M. L. Oelze, Improving Spatial Resolution Using Incoherent Subtraction of Receive Beams Having Different Apodizations. IEEE TUFFC 66(1), 5–17, 2019. doi:10.1109/TUFFC.2018.2876285

## Slide 8
Null Subtraction Imaging (NSI)
Agarwal et al., IEEE TUFFC 66(1), 5–17 (2019). doi:10.1109/TUFFC.2018.2876285
Agarwal et al. (2019): complementary receive apodizations
Apodization inside sub-aperture
Beam profile / PSF
Notes: Source: A. Agarwal, J. Reeg, A. S. Podkowa, and M. L. Oelze, Improving Spatial Resolution Using Incoherent Subtraction of Receive Beams Having Different Apodizations. IEEE TUFFC 66(1), 5–17, 2019. doi:10.1109/TUFFC.2018.2876285

## Slide 9
A problem: sub-aperture reduction close to array edges
Aperture edges

## Slide 10
A problem: sub-aperture reduction close to array edges

## Slide 11
Aperture clipping near array boundaries
Symmetric clipping preserves the NSI null

## Slide 12
Learned apodization fusion architecture
Evaluated model
run 20260520_151111
[4 features, 16, 8, 4, 2 apodizations]
[2 images, 2, 1 final image]
|x_rel| / z
|x| / z
z
x_rel x / z²
Notes: Architecture and parameters correspond to training run 20260520_151111: four physical features, hidden layers 16-8-4, two apodization channels, tanh apodization output, hard boxcar F-number 0.5.

## Slide 13
Synthetic training target and loss
Plane-wave simulations generated with PyMUST
Target: |I_DAS| multiplied by Gaussian masks centred on the reflectors
Loss: reflector-weighted MAE in linear amplitude
The objective does not directly optimise FWHM, sidelobes, CNR or gCNR
Notes: PyMUST: https://www.biomecardio.com/MUST/index.html. The target and loss emphasize reflector recovery and background suppression; they do not directly optimize FWHM, sidelobes, CNR or gCNR.

## Slide 14
Numerical phantom: lateral resolution
array boundary
At this edge reflector, the proposed profile is narrower than NSI

## Slide 15
Numerical phantom: edge amplitude stability
array boundary
Without subaperture normalisation, NSI peak amplitude decreases with depth near the boundary
Notes: Interpret amplitude cautiously: the evaluated NSI configuration uses normalize_by_n_subap: false. Peak-normalized profiles should be used for resolution comparisons.

## Slide 16
PICMUS phantom: edge profiles
Image appearance remains close to DAS
Selected edge profiles show modest narrowing

## Slide 17
Conclusions and next evaluation
Two learned receive apodizations and pixel-wise fusion produce DAS-like images.
NSI remains sharper overall in the numerical phantom.
Near array boundaries, learned fusion preserves peak amplitude better in the current non-normalised comparison.
Next evaluation: report peak-normalised FWHM, sidelobes and CNR or gCNR separately for interior and boundary reflectors.

## Slide 18
Questions
Learned fusion mitigates NSI amplitude loss near array boundaries, but it does not yet match NSI resolution overall.
g.cosarinsky@csic.es

## Slide 19
Weight to give more importance to reflectors vs background

## Slide 21
Proposed framework: learning and mixing
Example (layers and neurons)
[4 features, 16, 8, 4, 2 apodizations]
[2 (images), 2, 1 (final image)]
ReLU
tanh
ReLU